STANDARD OPERATING PROCEDURE

Use this form to document the Health and Safety information associated with the procedure.

| Procedure Title |  | Culturing bacterial isolates in broth from streak plates |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dept | ABE |  |  | Bldg/Rm | 4210 Sukup |  | Supervisor | Adina Howe |

Procedure Overview:

This SOP is written for culturing Syncom13 bacterial isolates in broth media. It was developed for Syncom13 but can be modified for other isolates which are cultured from plates into broth media.

Health and safety information for materials used (briefly describe the hazards associated with the materials and/or equipment OR document your hazard assessment in Section I)

Exposure to bacteria isolated from the environment – pathogenicity uncharacterized. Work in biosafety cabinet.

Hazard Control Measures

Please select which type of lab coat, eye protection, and hand protection will be used (Lab coat, eye and hand protection, and closed toe/heel shoes must be selected as required by Section D of the ISU Laboratory Safety Manual.)

|  | Latex gloves |  | Insulated gloves |  | Face shield |  | Respirator |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Nitrile gloves |  | Safety glasses |  | Lab coat |  | Fume hood |
|  | Neoprene gloves |  | Vented goggles |  | Apron |  | Biosafety cabinet |
|  | Vinyl gloves |  | Splash goggles |  | Dust mask |  | Glove box |
|  | Fully enclosed shoes |  |  |  | Flame resistant lab coat |  |  |

Other Control Measures

A biosafety cabinet prevents the cultures from becoming contaminated. Work under aseptic conditions.

Methods (Include step by step instructions detailing the process or attach this document to an existing method.)

Biosafety Cabinet Preparation

(Work should be completed in the biosafety cabinet.)

1. Set sash height to the line that is labeled sash height.

2. Ensure sterile environment by cleaning surfaces in the biosafety cabinet with 70% ethanol before use and before placing each material in the biosafety cabinet after surface sterilizing with ethanol. Set up your work progression in the cabinet from clean to “dirty”.

3. Place waste bin in biosafety cabinet to dispose of used loops.

Materials

- Disposable Loops

- Waste Bin

- Isolate Streak plate

- Appropriate Broth Media

- Sharpie (labeling)

- Serological Pipette

- 50 mL Falcon Tubes (50 mL centrifuge tubes)

- 25 mL Sterile Pipette Tip

- 50 mL Tube Rack

- 70% Ethanol Spray

Broth Procedure

- Start by labeling the lid of each 50 mL tube with the isolate name, the date, and initials. Label one 50 mL tube control, this will only have media and not be inoculated with an isolate. Do not label the sides of the tubes as wear incurred in the shaking incubator will make labels hard to read.

  - Example: PvR052, 6-4-25, RD

- In the biosafety cabinet using a serological pipette, pipette 20 mL (or desired amount) of media into ALL the falcon tubes you will be using before proceeding. No more than half of the container should be filled with broth media. Place pipette tip back into the wrapper when not in use to prevent contamination.

- Once all 50 mL tubes have been filled with broth media, take a disposable loop, and touch a single colony from the streak plate of the isolate you are going to inoculate the broth with.

  - Note: ensure that you take from colonies of similar size for all the broth media you will be inoculating.

- Take the loop that touched the colony and place it in the 50 mL tube with broth media labeled with the isolate you collected the colony from. Once in the media swirl it around in the 50 mL tube for 5-10 seconds.

- Repeat for each 50 mL tube.

Incubation

1. Once all 50 mL tubes have been inoculated place in a 50 mL tube rack and place in the shaking incubator at 29°C and ensure all caps are tightly closed. (Temperature may not be exactly 29°C due to the nature of the shaking incubator)

2. Each Isolate has their own ideal incubation time. Look at the growth time sheet below for ideal growth time.

Clean Up

1. After all broth cultures have been inoculated and placed in the shaking incubator. Remove items from the biosafety cabinet. Place waste in the biohazardous waste container. Sterilize the waste bin for loops with 70% ethanol before removing from the cabinet.

2. Wipe down biosafety cabinet with ethanol and wash the waste bin used to hold the used disposable loops.

3. Close biosafety cabinet sash when done.

4. Dispose of your gloves in the biohazardous waste container. Wash hands thoroughly before next task.

Shade Isolate Growth Schedule at 29 C

| Isolate | Treatment | Plate Incubation (Days) | Broth Incubation (Days) |
| --- | --- | --- | --- |
| PvR021 | SynCom13 | 1 | 1 |
| PvR045 | SynCom13 | 1 | 1 |
| PvR061 | SynCom13 | 1 | 1 |
| PvR079 | SynCom13 | 2 | 1 |
| PvR083 | SynCom13 | 1 | 1 |
| PvR090 | SynCom13 | 2 | 1 |
| PvR096 | SynCom13 | 3 | 2 |
| PvR101 | SynCom13 | 2 | 1 |
| PvR102 | SynCom13 | 2 | 1 |
| PvR112 | SynCom13 | 2 | 1 |
| PvR115 | SynCom13 | 2 | 2 |
| PvR122 | SynCom13 | 2 | 2 |
| PvR147 | SynCom13 | 1 | 1 |
| PvR040 | Random | 2 | 1 |
| PvR052 | Random | 1 | 1 |
| PvR062 | Random | 3 | 3 |
| PvR098 | Random | 2 | 1 |
| PvR108 | Random | 1 | 1 |

Waste Disposal Procedures

All waste must be disposed of in the biohazardous waste container. All materials exposed to bacteria must be sterilized with 70% ethanol before removal from biosafety cabinet.

First Aid Procedures

Immediately wash contaminated area with soap and water.

If eyes are exposed, flush with running water in eyewash for 15 min.

Spill/Release Containment, Decontamination, and Clean Up Procedures

Follow biosafety spill procedure. Sterilize spills with 70% ethanol.

Using Substances Requiring Special Procedures?    No    Yes

(If Yes; identify authorized personnel, designate a use area and specify specialized safety precautions here. Refer to Section B in the ISU Laboratory Safety Manual for details.)

| Written By | Ryan Donaldson |  | Date | 6-5-25 |
| --- | --- | --- | --- | --- |
| Approved By | Lorien Radmer |  | Date | 6/10/25 |

(PI or Lab Supervisor)

- HAZARD ASSESSMENT

Use the hierarchy of controls to document the hazards and the corresponding control measure(s) involved in each step of the procedure.

Consider elimination or substitution of hazards, if possible.

Engineering Control(s): items used to isolate the hazard from the user (i.e. fume hood, biosafety cabinet).

Administrative Control(s): policies/programs to limit the exposure to the hazard (i.e. authorizations, designated areas, time restrictions, training).

Required PPE:  indicate PPE including specific material requirements if applicable (i.e. flame resistant lab coat, type of respirator or cartridge).

| Task | Hazard | Engineering Control(s) | Administrative Control(s) | Required PPE |
| --- | --- | --- | --- | --- |

- TRAINING RECORD

Use the following table to record the training associated with this Standard Operating Procedure.

| Print Name | Signature | Trained By | Date |
| --- | --- | --- | --- |