STANDARD OPERATING PROCEDURE

Use this form to document the Health and Safety information associated with the procedure.

| Procedure Title |  | Siderophore Assay |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dept | ABE |  |  | Bldg/Rm | 4210 Sukup |  | Supervisor | Adina Howe |

Procedure Overview (brief description of the project)

To determine if a bacteria isolate is able to create siderophores.

Health and safety information for materials used (briefly describe the hazards associated with the materials and/or equipment OR document your hazard assessment in Section I)

Bacteria used in this assay are typically isolated from the environment (plant or soil samples) and are poorly characterized. Pathogenicity is a very low but non-zero risk. Observe at least BSL1 precautions.

Handle FeCl₃ with care; it is corrosive. Wear gloves and eye protection.

CAS and HDTMA dyes can stain, handle with protective clothing.

Hazard Control Measures

Please select which type of lab coat, eye protection, and hand protection will be used (Lab coat, eye and hand protection, and closed toe/heel shoes must be selected as required by Section D of the ISU Laboratory Safety Manual.)

|  | Latex gloves |  | Insulated gloves |  | Face shield |  | Respirator |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Nitrile gloves |  | Safety glasses |  | Lab coat |  | Fume hood |
|  | Neoprene gloves |  | Vented goggles |  | Apron |  | Biosafety cabinet |
|  | Vinyl gloves |  | Splash goggles |  | Dust mask |  | Glove box |
|  | Fully enclosed shoes |  |  |  | Flame resistant lab coat |  |  |

Other Control Measures

Wash hands before leaving the lab

Methods (Include step by step instructions detailing the process or attach this document to an existing method.)

Make CAS reagent the same day as the assay (from Louden et al. 2011)

- Clean all glassware (if used) with 6 M HCl to remove any trace elements, then rinse with ddH2O

- Solution 1 – Dissolve 0.06 g of chrome azurol S (CAS) in 50 mL of ddH2O

- Solution 2 – Dissolve 0.0027 g of FeCl3-6 H2O in 10 mL of 10 mM HCl

- Solution 3 – Dissolve 0.073 g of hexadecyltrimethylammonium bromide (HDTMA) in 40 mL of ddH2O

- Mix solution 1 with 9 mL of solution 2. Then mix with solution 3. Solution should now be a blue color. Store in a plastic bottle.

Prepare isolates for assay

- Grow isolates in preferred broth. For the SynCom isolates, R2A works well.

- Measure OD600 of isolates and dilute to 0.1 with preferred broth.

Assay (based on Arora and Verma 2017)

- Add 100 µL of CAS reagent to each well of a 96-well cell culture plate.

- Add 100 µL of diluted bacteria to each well. Have 4-8 replicates for each isolate.

- Incubate at room temperature for 20 min.

- Read in plate reader at 630 nm.

Waste Disposal Procedures

All waste containing or contaminated by CAS reagent or its components should be disposed of as hazardous waste. All bacteria waste should be sterilized before disposal.

First Aid Procedures

General Advice: If symptoms persist, call a physician.

Eye Contact: Rinse immediately with plenty of water, also under the eyelids, for at least 15 minutes. Remove contact lenses Get medical attention.

Skin Contact: Wash off immediately with plenty of water for at least 15 minutes. Get medical attention.

Inhalation: Remove to fresh air. Get medical attention. If not breathing, give artificial respiration.

Ingestion: Clean mouth with water and drink afterwards plenty of water. Get medical attention if symptoms occur.

Spill/Release Containment, Decontamination, and Clean Up Procedures

Follow laboratory procedures for spills.

Using Substances Requiring Special Procedures?    No    Yes

(If Yes; identify authorized personnel, designate a use area and specify specialized safety precautions here. Refer to Section B in the ISU Laboratory Safety Manual for details.)

| Written By | Lorien Radmer |  | Date | 1/15/26 |
| --- | --- | --- | --- | --- |
| Approved By |  |  | Date |  |

(PI or Lab Supervisor)

- HAZARD ASSESSMENT

Use the hierarchy of controls to document the hazards and the corresponding control measure(s) involved in each step of the procedure.

Consider elimination or substitution of hazards, if possible.

Engineering Control(s): items used to isolate the hazard from the user (i.e. fume hood, biosafety cabinet).

Administrative Control(s): policies/programs to limit the exposure to the hazard (i.e. authorizations, designated areas, time restrictions, training).

Required PPE:  indicate PPE including specific material requirements if applicable (i.e. flame resistant lab coat, type of respirator or cartridge).

| Task | Hazard | Engineering Control(s) | Administrative Control(s) | Required PPE |
| --- | --- | --- | --- | --- |

- TRAINING RECORD

Use the following table to record the training associated with this Standard Operating Procedure.

| Print Name | Signature | Trained By | Date |
| --- | --- | --- | --- |